Title of the project: Improvement of Energy Efficiency through an Inter-Municipal Management Network – Supply of the equipment and installation for pilot projects in Bar, Ulcinj, Budva and Kotor

Tender Reference:EuropeAid/133-339/L/ACT/ME – 2013/335-263/07

MINUTES OF THE INFO MEETING AND SITE VISIT

Meeting: Info Meeting and Site visit

Venue: Municipality of Kotor

Date and time: 10.02.2015.  at 12:00 h

People attending the event on behalf of the Contracting Authority:

- Budo Cupara, the engineer from the Directorate for the planning and construction of Kotor

Attending representatives of one tenderer.

Key Information

The main purpose of the visit was to make a few instances more clear regarding the job to be done, with the engineer who was responsible for the elaborate written for the Municipality of Kotor for the purposes of this project, as well as to see to locations in person in order to have a better sense of what needs to be done if this company was to get elected.

Locations visited:

- Public light children’s kindergarden

- Rakite

- Muo

- St. Stasije

ANNEX 1

RESPONSES TO TENDERERS'QUESTIONS

| TENDERERS' QUESTIONS AND REMARKS | CONTRACT AUTHORITY'S RESPONSES |
| --- | --- |
| What is the main purpose of the tender and the main job of the firm to be contracted? | The main purpose is to replace the existing lamps with new lamps which use high-pressure sodium as their light source. The existing lamps use quicksilver as their light source. Bulbs that are to be installed are of different forces, 70 or 100 W, and the existing ones are different types of 125 and 250 W power. |

Closing Time of the event: 10.02.2015 at 14:00 h.