CORRIGENDUM No: 2

to the

Bidding document for procurement of works related to:

CONSTRUCTION OF THE ELEMENTARY SCHOOL: “VLADIMIR NAZOR”, PODGORICA

ICB No: 01-126/23-2455/1

Issued on 2nd June 2023

As a result of the clarification process the Employer makes the following modifications to the Bidding Document:

- Part 1 Section IV_Bill of Quantities, 4.2 Sprinkler, point 31:

| br/No | predmet/ subject | NASLOV | NAME | mjerna jedinica/ UNIT | pred.cijena/ unit price in € | Količina/ Quantity | Cijena u eurima (bez PDV-a)/ Amount in € (without VAT) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 31. |  | Čelične bešavne crne cijevi JUS C.B5.226 | Steel seamless black pipes JUS C.B5.226 |  |  |  |  |
|  |  | DN25(33,7x3,25) mm | DN25(33,7x3,25) mm | m1 |  |  |  |
|  |  |  |  | kg |  | 1.25 | 0.00 |
|  |  | DN32( 42,4 x 3,25) mm | DN32( 42,4 x 3,25) mm | m1 |  |  |  |
|  |  |  |  | kg |  | 1.25 | 0.00 |
|  |  | DN40(48.3 x 3,25) mm | DN40(48.3 x 3,25) mm | m1 |  |  |  |
|  |  |  |  | kg |  | 1.30 | 0.00 |
|  |  | DN50(60.3x3,65) mm | DN50(60.3x3,65) mm | m1 |  |  |  |
|  |  |  |  | kg |  | 1.30 | 0.00 |
|  |  | DN65(76.1x2,9) mm | DN65(76.1x2,9) mm | m1 |  |  |  |
|  |  |  |  | kg |  | 1.30 | 0.00 |
|  |  | DN80(88.9 x 3,2) mm | DN80(88.9 x 3,2) mm | m1 |  |  |  |
|  |  |  |  | kg |  | 1.30 | 0.00 |
|  |  | DN100 (114,3 x 3,6) mm | DN100 (114,3 x 3,6) mm | m1 |  |  |  |
|  |  |  |  | kg |  | 1.47 | 0.00 |

Is modified as follows:

| br/No | predmet/ subject | NASLOV | NAME | mjerna jedinica/ UNIT | pred.cijena/ unit price in € | Količina/ Quantity | Cijena u eurima (bez PDV-a)/ Amount in € (without VAT) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 31. |  | Čelične bešavne crne cijevi JUS C.B5.226 |  |  |  |  |  |
|  |  | DN25(33,7x3,25) mm |  | m1 |  | 882.00 |  |
|  |  |  |  | kg |  | 2,072.70 | 0.00 |
|  |  | DN32( 42,4 x 3,25) mm |  | m1 |  | 148.00 |  |
|  |  |  |  | kg |  | 452.88 | 0.00 |
|  |  | DN40(48.3 x 3,25) mm |  | m1 |  | 112.00 |  |
|  |  |  |  | kg |  | 396.48 | 0.00 |
|  |  | DN50(60.3x3,65) mm |  | m1 |  | 163.00 |  |
|  |  |  |  | kg |  | 577.02 | 0.00 |
|  |  | DN65(76.1x2,9) mm |  | m1 |  | 51.00 |  |
|  |  |  |  | kg |  | 338.64 | 0.00 |
|  |  | DN80(88.9 x 3,2) mm |  | m1 |  | 61.00 |  |
|  |  |  |  | kg |  | 452.01 | 0.00 |
|  |  | DN100 (114,3 x 3,6) mm |  | m1 |  | 452.00 |  |
|  |  |  |  | kg |  | 4,429.60 | 0.00 |

All other terms and conditions of the Bidding document remain unchanged.

The above amendments are integral part of the Bidding document.